[image: image1.png]straub

fthe original




Tender Specification:

Threaded Connection

Industry: Hydraulic engineering (drinking, industrial and waste water), gas, compressed air, industrial pipeline construction, shipbuilding, offshore, salt water systems, mineral oil / petrochemical and mining.
	STRAUB threaded connection, 1.4571, V4A with extended ends, made of welded pipe.

Component identification with manufacturer, material, batch number, article number and QR code by needle embossing.

5 years system warranty. The shaped part is supplied in a bio degradable plastic bag. 
DN …  OD … mm x … mm

PN 16

Side length    … mm

Manufacturer:

STRAUB Werke AG
CH-7323 Wangs

+41 81 725 41 00

straub@straub.ch
www.straub.ch

	


STRAUB Werke AG | Straubstrasse 13 | CH-7323 Wangs | +41 81 725 41 00 | straub@straub.ch

